AQA GCSE PHYSICS  ·  PAPER 1  ·  FOUNDATION & HIGHER

The National Grid

Electricity   ·   Lesson 8 of 10

Warm-up

Answer each one, then check.

1.   What does a power station generate?

Electricity

2.   What happens to a wire when a current flows?

It heats up

3.   Write the equation for power using current and resistance.

P = I²R

4.   What does step-up mean?

Increases the potential difference

5.   What is a cable?

A wire used to carry current

Learning Objectives

1.   Describe the National Grid as a system of cables and transformers.

2.   State the roles of step-up and step-down transformers.

3.   Explain why the National Grid is an efficient way to transfer energy.

The National Grid

Step-up transformers increase the potential difference for transmission, which reduces the current and so the energy wasted as heat in the cables.

The National Grid is a system of cables and transformers linking power stations to consumers.

From Power Station to Home

High pd means low current.

The National Grid: power station, step-up transformer, transmission cables, step-down transformer and homes.

Why High pd Means Efficient

Follow the logic.

| 1 Power = pd × current For the same power, a higher pd means a smaller current. | 2 Less current A smaller current means less heating in the cables. | 3 Energy wasted Power loss in the cable is P = I²R, so halving the current cuts the loss to a quarter. | 4 Step-up transformers Increase the pd before the cables. | 5 Step-down transformers Decrease the pd to a safe value for homes (230 V). |
| --- | --- | --- | --- | --- |

Comparing Losses

100 kW is transmitted through cables of total resistance 2.0 Ω. Compare the power lost at 1000 V with the power lost at 10 000 V.

1.   Current at 1000 V

I = P ÷ V = 100 000 ÷ 1000 = 100 A

2.   Power lost

P = I²R = 100² × 2.0 = 20 000 W

3.   Current at 10 000 V

I = 100 000 ÷ 10 000 = 10 A

4.   Power lost

10² × 2.0 = 200 W

Answer:   20 kW lost at 1000 V but only 200 W lost at 10 000 V: high pd wastes far less energy.

Key Points

For an exam answer.

▸   Efficient.   High pd, low current means little energy wasted as heat in the cables.

▸   Step-up.   Used at the power station end.

▸   Step-down.   Used near homes and factories.

▸   Safety.   The high pd is reduced to 230 V before homes.

Key Terms

| National Grid A system of cables and transformers linking power stations to consumers. | Transformer A device that changes the size of an alternating pd. |
| --- | --- |
| Step-up transformer Increases the pd. | Step-down transformer Decreases the pd. |
| Transmission cables Cables that carry electricity over long distances. | Efficient Wasting little energy. |

Your Task: Follow the Grid

10 minutes

Put these in the correct order: homes, step-up transformer, power station, step-down transformer, transmission cables. 1. Start at the power station. 2. End at homes.

A good answer shows:   Power station, step-up transformer, transmission cables, step-down transformer, homes.

Can I...?

☐   Describe the National Grid.

☐   State what a step-up transformer does.

☐   State what a step-down transformer does.

☐   Explain why high pd is used.

☐   Link current to energy wasted.

☐   Compare power losses.

☐   Draw or complete a grid diagram.

☐   Explain why 230 V is needed in homes.

Summary

✓   Step-up transformers increase pd, step-down decrease it.

✓   High pd means low current for the same power.

✓   Low current means less energy wasted as heat in the cables.

✓   The National Grid is efficient.

EXAM FOCUS Explain why the National Grid transmits electricity at a high potential difference. (3 marks) Say higher pd means lower current, so less heating.